## Slide 1: Electricity Trade, Economic Growth and Digital Divide
By
Prof. Kirit Parikh, Chairman, IRADe
Dr. Navpreet Saini, Senior Research Analyst, IRADe

## Slide 2: Background
South Asia is a rapidly developing region where energy underpins economic growth, industrialisation, and living standards.
Despite progress, the region faces low per-capita electricity consumption, reflecting gaps in reliable and affordable energy access.
Limited, unstable power supply contributes to a persistent digital divide across households.
Per Capita Electricity Consumption (total electricity use in the economy divided by total population)
World Average- 3558 kWh/capita
South Asia Average- 3262 kWh/capita (driven by Bhutan)
Largest- Bhutan (15176 kWh/capita)
Lowest- Nepal (351 kWh/capita
Chart: Per capita Electricity Consumption (kWh/capita)
| World | Bangladesh | Bhutan | India | Nepal | Sri Lanka | Maldives
 | 3558 | 603 | 15176 | 1182 | 351 | 644 | 1562

## Slide 3: Total Installed Power Generating Capacity in South Asia by Source in 2023
Almost 50% total installed capacity, 543.8 GW in South Asia, is based on non-renewables (42% on coal only)
Bhutan and Nepal rely almost entirely on hydropower (100% and 98% respectively)
Bangladesh- (Gas-49% and oil-28%)
Sri Lanka- solar and fossil
Maldives - almost entirely on oil
Overall, coordinated cross-border electricity trade would enhance energy security, reduce fossil-fuel dependence, lower costs, and support a cleaner regional power system in South Asia.
Chart: Installed capacity by Source in South Asia
| Coal | Gas | Oil | Hydro | Nuclear | Solar | Wind | Bio
 | 230849 | 32573.42 | 9441.7 | 64601 | 8780 | 132020.5 | 53862.92 | 11673.93

## Slide 4
The compelling reasons for CBET
To enhance energy security by reducing dependence on imported fossil fuels and minimizing exposure to supply disruptions and price volatility
To fulfil the NDC Targets (more hydro and solar can be used)
To expand access to reliable, affordable, and continuous electricity, which is essential for bridging the digital divide
To enable efficient use of RE, balancing supply–demand gaps, grid stability and fostering sustainable economic growth.
Need for Regional Cooperation

## Slide 5: Cross-Border Power Trade Potential
Seasonal and Daily Demand Diversity in South Asia |  |  | 
 | Peak Demand Months | Hourly Peak Demand _Local Tine | Hourly Peak Demand: India Reference Time
Bangladesh | March to October | 20.00 hrs to 23.00 hrs. | 19.30 hrs. to 22.30 hrs
Bhutan | November to January | 18.00 hrs to 22.00 hrs | 17.30 hrs to 21.30 hrs
India | June to September | 11.00 hrs to 15.00 hrs | 11.00 hrs to 15.00 hrs
Nepal | May to August | 19.00 hrs to 21.00 hrs | 18.45 hrs to 20.45 hrs
Sri Lanka | April | 18.00 hrs to 22.00 hrs | 18.00 hrs to 22.00 hrs
Maldives | April to May | 17.00 hrs to 18.00 hrs | 17.30 hrs to 18:30 hrs
Bangladesh (Mar–Oct), India (Jun–Sep), Nepal (May–Aug), while hydropower generation in Nepal/Bhutan peaks during monsoon.
Nepal and Bhutan export surplus electricity in summer but rely on imports in winter when generation drops (e.g., Bhutan).

## Slide 6: Resource Complementarity
Renewable Energy Potential among South Asian Countries |  |  | 
Country name | Renewable Potential (MW) |  | 
2019 | Solar | Hydropower | Wind
Bangladesh | 2680 | 330 | 637
Bhutan | 12000 | 41000 | 760
India | 7,50,000 | 1,50,000 | 3,02,000
Nepal | 2,100 | 83,000 | 448
Sri Lanka | 55 TWh /year | 500 | 20000
Maldives | Na | Na | 80
Uneven Renewable Distribution across South Asia creates need for cooperation
Hydropower Surplus: Bhutan (~41,000 MW) & Nepal (~83,000 MW) exceed domestic demand
Energy Deficit Countries: Bangladesh & Maldives have limited renewable options
Regional Energy Hub: India has massive solar (750,000 MW) & wind (302,000 MW) potential
Complementary Resources: Sri Lanka adds wind (20,000 MW) & strong solar generation
Balances solar & wind variability with hydropower

## Slide 7: Electricity import of Bangladesh from India
Chart: Bangladesh Import from India
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Bangladesh Import | 0 | 3822 | 4656 | 4783 | 6786 | 6674 | 8103 | 7712
India–Bangladesh power trade began in 2013 with the commissioning of the Baherampur–Bheramara HVDC interconnection.
India now exports over 1,000 MW of electricity to Bangladesh, making it one of the largest cross-border power flows in South Asia.
This trade has improved energy reliability in Bangladesh.

## Slide 8: Export and Import of Electricity between Bhutan and India
Chart: Bhutan's Export and Import from India
| 2005 | 2010 | 2015 | 2020 | 2022
Bhutan Import | 18 | 132 | 125 | 82 | 247
Bhutan Export | 1714 | 5579 | 5503 | 9176 | 7240
Cross-border power trade between India and Bhutan began in the 1960s.
Expanded significantly with major hydropower projects like Chukha (1986), Tala (2007), and Mangdechhu (2019).
India imports the majority of Bhutan’s electricity output, forming one of the most successful long-term cross-border clean energy partnerships in South Asia.
Bhutan export electricity to India during June–September (monsoon) when hydropower generation is high and domestic demand is low.
Imports from India during December–March (dry season) due to reduced river flows and high DAEMAND.
In Recent Years electricity demand in Bhutan has increased exponentially, therefore the electricity import has also increased from India in recent years.

## Slide 9: Export and Import of Electricity between Nepal and India
Chart: Export and Import between India and Nepal
| 2005 | 2010 | 2015 | 2020 | 2022
Nepal Import | 241 | 639 | 1370 | 1729 | 1543
Nepal Export | 111 | 75 | 3 | 107 | 493
Electricity Trade between India and Nepal is also Seasonal in Nature.
India has set a long-term target to import around 10,000 MW of electricity from Nepal, primarily through hydropower projects that will supply surplus clean energy to India.
In 2023, Nepal–India–Bangladesh operationalized a trilateral power trade framework enabling Nepal to export surplus hydropower to Bangladesh via India’s transmission network

## Slide 10
Power Trade - Imported from India and Exported to India |  |  |  |  |  | 
 | Bhutan |  | Nepal |  | Bangladesh | 
 | Exported to | Import from | Exported to | Import from | imported | 
Apr-23 | 23.06 | 43.8 | 357.99 | 0 | 687.3 | 
May-23 | 0.48 | 125.72 | 271.8 | 0.34 | 775.1 | 
Jun-23 | 0 | 650.47 | 80 | 88.86 | 743.92 | 
Jul-23 | 0 | 1331.68 | 0 | 223.72 | 780.77 | 
Aug-23 | 0 | 1277.91 | 0 | 281.61 | 767.79 | 
Sep-23 | 0 | 937.81 | 0 | 323.59 | 755.88 | 
Oct-23 | 0 | 588.64 | 0 | 460.97 | 755.92 | 
Nov-23 | 51.41 | 36.77 | 0 | 271.72 | 628.24 | 
Dec-23 | 212.51 | 0 | 88.76 | 5.09 | 593.51 | 
Jan-24 | 287.94 | 0 | 271.79 | 0 | 601.77 | 
Feb-24 | 312.87 | 0 | 368.61 | 0 | 593.99 | 
Mar-24 | 241.74 | 0 | 371.03 | 0 | 730.33 | 
total 2023-24 | 1130.01 | 4992.8 | 1809.98 | 1655.9 | 8414.52 | 

## Slide 11: IRADE Model
IRADe carried out a detailed modeling study (Implications of Declining Costs of Solar, Wind and Storage Technologies on Regional Power Trade in South Asia (BBIN Countries), 2022) which explored electricity trade potential on an hourly basis till 2045

## Slide 12: Key findings of the study for Nepal
Nepal’s hydro potential is a valuable resource.
Nepal imports 0.7 billion kWh (bkWh) in 2020 but by 2025 exports 18 bkWh, which increases to 65 bkWh by 2030 and to 113 bkWh by 2040.
Nepal’s annual export revenue from the electricity trade becomes NPR 310 billion in 2030, NPR 840 billion in 2040 and NPR 1069 billion in 2045 at 2011-12 prices.
With Accerated Power Trade, Nepal’s per capita consumption increases by 23% over BASE and GDP increases by 39% in 2045.
Hydro capacity reach 34.4GW with Accerated Power Trade by 2045 compared to only 8.9 GW in BASE.
Trade also benefits India by providing easier and cheaper electricity to meet evening peak demand when solar power is unavailable.

## Slide 13: Trade among BBIN countries
IRADe had also developed models for Bhutan and Bangladesh which were all linked together.
Bangladesh becomes a major energy importer due to limited resources: gas is depleting, coal, densely populated areas, solar is hindered by clouds, and wind faces cyclone risks.
Nepal and Bhutan export power to Bangladesh indirectly via India
Year | India's Export to (in GWh) |  |  | India's Import from (in GWh) |  | 
 | Bangladesh | Bhutan | Nepal | Bangladesh | Bhutan | Nepal
2015 | 3380 | 158 | 1370 | 0 | 4998 | 3
2020 | 9619 | 0 | 828 | 0 | 15392 | 1890
2025 | 24841 | 0 | 1453 | 0 | 46459 | 40371
2030 | 27896 | 0 | 0 | 0 | 96807 | 72478
2035 | 50710 | 0 | 75 | 0 | 118383 | 99043
2040 | 72801 | 0 | 224 | 0 | 118383 | 126050
2045 | 103870 | 0 | 564 | 0 | 118383 | 135680
CAGR 2015-45 | 12% | - | -3% | - | 11% | 43%

## Slide 14: Digital Divide
Electricity and internet access are essential for bridging the digital divide
Access alone is not enough; education and skills are equally important
India has ~85% household smartphone ownership (2025)
95–97% of youth use smartphones, widely used for banking, education, and entertainment
India has ~600 million smartphone users
Over 20 billion UPI transactions (Nov 2025) worth ~₹26 trillion, as UPI enables fast and cashless payments and now expanding to multiple countries.
Digital education is key for AI-era workforce development and Schools must focus on improving digital learning and skills.

## Slide 15: Conclusion
BBIN electricity trade is more than technical cooperation; it is a strategic economic lever that reduces costs, improves energy security, and enables large hydropower projects through assured demand. India’s role as a regional electricity hub builds trust through reliable institutions, while Nepal and Bhutan benefit by monetizing hydropower and Bangladesh gains stable imports. In the context of rising energy demand, digitalization, and decarbonization in South Asia, electricity trade is becoming central to regional growth, stability, and resilience.